## Slide 1
SERVICE REPORTS
Chiller 03 Detailed Service Report
Operating readings for RTAG285 serial G24K04508
TECHNICAL
TECHNICAL TRAINING RESOURCE
Notes: [Sources]
- User-provided controlled technical document
Training interpretation only. Verify against the current controlled record, OEM documentation, approved PTW/LOTO, risk assessment and site procedures.

## Slide 2
SERVICE REPORTS
Source to practice
Evidence, interpretation and technician application
02
Notes: [Sources]
- User-provided controlled technical document
Training interpretation only. Verify against the current controlled record, OEM documentation, approved PTW/LOTO, risk assessment and site procedures.

## Slide 3
KEY EVIDENCE
A controlled technical reference for safe maintenance
09 Jul
Report date
RTAG285
Chiller model
14
Detailed report pages
TECHNICAL RESOURCE | Service Reports
03
Notes: [Sources]
- User-provided controlled technical document
Training interpretation only. Verify against the current controlled record, OEM documentation, approved PTW/LOTO, risk assessment and site procedures.

## Slide 4
TECHNICAL REVIEW
Use the manual as a machine-specific working reference
• Use readings to compare circuits, compressors and water-side performance. • Check sensor plausibility before drawing conclusions.
• Trend repeated alarms and abnormal load distribution. • Attach the verified corrective-action closeout.
TECHNICAL RESOURCE | Service Reports
04
Notes: [Sources]
- User-provided controlled technical document
Training interpretation only. Verify against the current controlled record, OEM documentation, approved PTW/LOTO, risk assessment and site procedures.

## Slide 5
TECHNICAL REVIEW
Apply a consistent safe-work sequence
• Confirm machine identity, model and document revision. • Isolate all energy sources and prove a safe state before access.
• Inspect, measure and diagnose before replacing components. • Function-test safeguards and record the completed work.
TECHNICAL RESOURCE | Service Reports
05
Notes: [Sources]
- User-provided controlled technical document
Training interpretation only. Verify against the current controlled record, OEM documentation, approved PTW/LOTO, risk assessment and site procedures.

## Slide 6
TECHNICAL REVIEW
Parts and settings require configuration control
• Record original settings and connections before adjustment. • Use exact part numbers or approved supersessions.
• Preserve firmware, program and parameter backups where applicable. • Update the maintenance history after each intervention.
TECHNICAL RESOURCE | Service Reports
06
Notes: [Sources]
- User-provided controlled technical document
Training interpretation only. Verify against the current controlled record, OEM documentation, approved PTW/LOTO, risk assessment and site procedures.

## Slide 7
SOURCE EVIDENCE
Manual evidence 1
CONTROLLED SOURCE
IDENTIFIERS REMOVED
Source page 1
Use the current controlled document for detailed readings, revision status and formal acceptance.
TECHNICAL RESOURCE | Service Reports
07
Notes: [Sources]
- User-provided controlled technical document
- Evidence reference: Source page 1
Training interpretation only. Verify against the current controlled record, OEM documentation, approved PTW/LOTO, risk assessment and site procedures.

## Slide 8
SOURCE EVIDENCE
Manual evidence 2
CONTROLLED SOURCE
IDENTIFIERS REMOVED
Source page 2
Use the current controlled document for detailed readings, revision status and formal acceptance.
TECHNICAL RESOURCE | Service Reports
08
Notes: [Sources]
- User-provided controlled technical document
- Evidence reference: Source page 2
Training interpretation only. Verify against the current controlled record, OEM documentation, approved PTW/LOTO, risk assessment and site procedures.

## Slide 9
SOURCE EVIDENCE
Manual evidence 3
CONTROLLED SOURCE
IDENTIFIERS REMOVED
Source page 4
Use the current controlled document for detailed readings, revision status and formal acceptance.
TECHNICAL RESOURCE | Service Reports
09
Notes: [Sources]
- User-provided controlled technical document
- Evidence reference: Source page 4
Training interpretation only. Verify against the current controlled record, OEM documentation, approved PTW/LOTO, risk assessment and site procedures.

## Slide 10
SOURCE EVIDENCE
Manual evidence 4
CONTROLLED SOURCE
IDENTIFIERS REMOVED
Source page 6
Use the current controlled document for detailed readings, revision status and formal acceptance.
TECHNICAL RESOURCE | Service Reports
10
Notes: [Sources]
- User-provided controlled technical document
- Evidence reference: Source page 6
Training interpretation only. Verify against the current controlled record, OEM documentation, approved PTW/LOTO, risk assessment and site procedures.

## Slide 11
SOURCE EVIDENCE
Manual evidence 5
CONTROLLED SOURCE
IDENTIFIERS REMOVED
Source page 8
Use the current controlled document for detailed readings, revision status and formal acceptance.
TECHNICAL RESOURCE | Service Reports
11
Notes: [Sources]
- User-provided controlled technical document
- Evidence reference: Source page 8
Training interpretation only. Verify against the current controlled record, OEM documentation, approved PTW/LOTO, risk assessment and site procedures.

## Slide 12
SOURCE EVIDENCE
Manual evidence 6
CONTROLLED SOURCE
IDENTIFIERS REMOVED
Source page 10
Use the current controlled document for detailed readings, revision status and formal acceptance.
TECHNICAL RESOURCE | Service Reports
12
Notes: [Sources]
- User-provided controlled technical document
- Evidence reference: Source page 10
Training interpretation only. Verify against the current controlled record, OEM documentation, approved PTW/LOTO, risk assessment and site procedures.

## Slide 13
SOURCE EVIDENCE
Manual evidence 7
CONTROLLED SOURCE
IDENTIFIERS REMOVED
Source page 12
Use the current controlled document for detailed readings, revision status and formal acceptance.
TECHNICAL RESOURCE | Service Reports
13
Notes: [Sources]
- User-provided controlled technical document
- Evidence reference: Source page 12
Training interpretation only. Verify against the current controlled record, OEM documentation, approved PTW/LOTO, risk assessment and site procedures.

## Slide 14
SOURCE EVIDENCE
Manual evidence 8
CONTROLLED SOURCE
IDENTIFIERS REMOVED
Source page 14
Use the current controlled document for detailed readings, revision status and formal acceptance.
TECHNICAL RESOURCE | Service Reports
14
Notes: [Sources]
- User-provided controlled technical document
- Evidence reference: Source page 14
Training interpretation only. Verify against the current controlled record, OEM documentation, approved PTW/LOTO, risk assessment and site procedures.

## Slide 15
COMPETENCY CHECK
What technicians must retain
• Identify the correct controlled source before work. • Verify readings, configuration and acceptance criteria.
• Preserve evidence and escalate unresolved deviations. • Complete safe isolation, functional testing and handover records.
TECHNICAL RESOURCE | Service Reports
15
Notes: [Sources]
- User-provided controlled technical document
Training interpretation only. Verify against the current controlled record, OEM documentation, approved PTW/LOTO, risk assessment and site procedures.