## Slide 1
SPARE PARTS
RTAG Critical Spares
Recommended readiness stock for controls, sensors and refrigeration components
TECHNICAL TRAINING RESOURCE
Notes: [Sources]
- User-provided controlled technical document
Training interpretation only. Verify against the current controlled record, OEM documentation, approved PTW/LOTO, risk assessment and site procedures.

## Slide 2
SPARE PARTS
Source to practice
Evidence, interpretation and technician application
02
Notes: [Sources]
- User-provided controlled technical document
Training interpretation only. Verify against the current controlled record, OEM documentation, approved PTW/LOTO, risk assessment and site procedures.

## Slide 3
KEY EVIDENCE
The list contains 39 numbered critical-spares lines
7
Control-board types
6
Pressure transducers listed
4
Compressor oil filters listed
TECHNICAL RESOURCE | Spare Parts
03
Notes: [Sources]
- User-provided controlled technical document
Training interpretation only. Verify against the current controlled record, OEM documentation, approved PTW/LOTO, risk assessment and site procedures.

## Slide 4
TECHNICAL REVIEW
Controls and interface modules dominate the critical list
• CH530 power-supply and I/O boards are included. • UC800 and TD7 display modules are included.
• Some boards and sensors require programming after installation. • Preserve firmware, configuration and commissioning records with stocked modules.
TECHNICAL RESOURCE | Spare Parts
04
Notes: [Sources]
- User-provided controlled technical document
Training interpretation only. Verify against the current controlled record, OEM documentation, approved PTW/LOTO, risk assessment and site procedures.

## Slide 5
TECHNICAL REVIEW
Sensors and protective devices support rapid fault recovery
• High-pressure cutout, temperature sensors and optical liquid-level sensor are listed. • Flow switch and pressure transducer are included.
• Safety and relief components require exact pressure and connection verification. • Do not substitute a similar-looking device without OEM confirmation.
TECHNICAL RESOURCE | Spare Parts
05
Notes: [Sources]
- User-provided controlled technical document
Training interpretation only. Verify against the current controlled record, OEM documentation, approved PTW/LOTO, risk assessment and site procedures.

## Slide 6
TECHNICAL REVIEW
Refrigeration service parts require controlled storage
• Liquid-line driers, expansion valve, solenoid valves and coils are included. • Crankcase heaters and compressor oil filters are included.
• Keep parts sealed, dry, identified and protected from contamination. • Track shelf life, storage condition and installed-machine compatibility.
TECHNICAL RESOURCE | Spare Parts
06
Notes: [Sources]
- User-provided controlled technical document
Training interpretation only. Verify against the current controlled record, OEM documentation, approved PTW/LOTO, risk assessment and site procedures.

## Slide 7
TECHNICAL REVIEW
Stock policy should combine criticality with lead time
• Rank parts by safety, downtime consequence and probability of failure. • Validate quantities against the number of installed chillers.
• Record min/max stock, reorder point, supplier lead time and preservation needs. • Review consumption after breakdowns and annual shutdowns.
TECHNICAL RESOURCE | Spare Parts
07
Notes: [Sources]
- User-provided controlled technical document
Training interpretation only. Verify against the current controlled record, OEM documentation, approved PTW/LOTO, risk assessment and site procedures.

## Slide 8
SOURCE EVIDENCE
OEM critical-spares schedule
Part numbers and recommended quantities
Use the current controlled document for detailed readings, revision status and formal acceptance.
TECHNICAL RESOURCE | Spare Parts
08
Notes: [Sources]
- User-provided controlled technical document
- Evidence reference: Part numbers and recommended quantities
Training interpretation only. Verify against the current controlled record, OEM documentation, approved PTW/LOTO, risk assessment and site procedures.

## Slide 9
COMPETENCY CHECK
What technicians must retain
• Identify the correct controlled source before work. • Verify readings, configuration and acceptance criteria.
• Preserve evidence and escalate unresolved deviations. • Complete safe isolation, functional testing and handover records.
TECHNICAL RESOURCE | Spare Parts
09
Notes: [Sources]
- User-provided controlled technical document
Training interpretation only. Verify against the current controlled record, OEM documentation, approved PTW/LOTO, risk assessment and site procedures.