## Slide 1
SOP • BOILER
SOP 004 — Boiler Additional Checks
Safe operating procedure and technician briefing
TECHNICAL
TECHNICAL TRAINING RESOURCE
Notes: [Sources]
- User-provided controlled technical document
Training interpretation only. Verify against the current controlled record, OEM documentation, approved PTW/LOTO, risk assessment and site procedures.

## Slide 2
SOP • BOILER
Source to practice
Evidence, interpretation and technician application
02
Notes: [Sources]
- User-provided controlled technical document
Training interpretation only. Verify against the current controlled record, OEM documentation, approved PTW/LOTO, risk assessment and site procedures.

## Slide 3
KEY EVIDENCE
A controlled technical reference for safe maintenance
SOP 004
Procedure identifier
3
Controlled source pages
Safe
Task execution objective
TECHNICAL RESOURCE | SOP • Boiler
03
Notes: [Sources]
- User-provided controlled technical document
Training interpretation only. Verify against the current controlled record, OEM documentation, approved PTW/LOTO, risk assessment and site procedures.

## Slide 4
TECHNICAL REVIEW
Use the manual as a machine-specific working reference
• Verify safety devices, levels, pressures and abnormal indications. • Use approved boiler logs and acceptance limits.
• Escalate defects before continued operation. • Complete the checklist, report defects and retain the signed record.
TECHNICAL RESOURCE | SOP • Boiler
04
Notes: [Sources]
- User-provided controlled technical document
Training interpretation only. Verify against the current controlled record, OEM documentation, approved PTW/LOTO, risk assessment and site procedures.

## Slide 5
TECHNICAL REVIEW
Apply a consistent safe-work sequence
• Confirm machine identity, model and document revision. • Isolate all energy sources and prove a safe state before access.
• Inspect, measure and diagnose before replacing components. • Function-test safeguards and record the completed work.
TECHNICAL RESOURCE | SOP • Boiler
05
Notes: [Sources]
- User-provided controlled technical document
Training interpretation only. Verify against the current controlled record, OEM documentation, approved PTW/LOTO, risk assessment and site procedures.

## Slide 6
TECHNICAL REVIEW
Parts and settings require configuration control
• Record original settings and connections before adjustment. • Use exact part numbers or approved supersessions.
• Preserve firmware, program and parameter backups where applicable. • Update the maintenance history after each intervention.
TECHNICAL RESOURCE | SOP • Boiler
06
Notes: [Sources]
- User-provided controlled technical document
Training interpretation only. Verify against the current controlled record, OEM documentation, approved PTW/LOTO, risk assessment and site procedures.

## Slide 7
SOURCE EVIDENCE
Manual evidence 1
CONTROLLED SOURCE
IDENTIFIERS REMOVED
Source page 1
Use the current controlled document for detailed readings, revision status and formal acceptance.
TECHNICAL RESOURCE | SOP • Boiler
07
Notes: [Sources]
- User-provided controlled technical document
- Evidence reference: Source page 1
Training interpretation only. Verify against the current controlled record, OEM documentation, approved PTW/LOTO, risk assessment and site procedures.

## Slide 8
SOURCE EVIDENCE
Manual evidence 2
CONTROLLED SOURCE
IDENTIFIERS REMOVED
Source page 2
Use the current controlled document for detailed readings, revision status and formal acceptance.
TECHNICAL RESOURCE | SOP • Boiler
08
Notes: [Sources]
- User-provided controlled technical document
- Evidence reference: Source page 2
Training interpretation only. Verify against the current controlled record, OEM documentation, approved PTW/LOTO, risk assessment and site procedures.

## Slide 9
SOURCE EVIDENCE
Manual evidence 3
CONTROLLED SOURCE
IDENTIFIERS REMOVED
Source page 3
Use the current controlled document for detailed readings, revision status and formal acceptance.
TECHNICAL RESOURCE | SOP • Boiler
09
Notes: [Sources]
- User-provided controlled technical document
- Evidence reference: Source page 3
Training interpretation only. Verify against the current controlled record, OEM documentation, approved PTW/LOTO, risk assessment and site procedures.

## Slide 10
COMPETENCY CHECK
What technicians must retain
• Identify the correct controlled source before work. • Verify readings, configuration and acceptance criteria.
• Preserve evidence and escalate unresolved deviations. • Complete safe isolation, functional testing and handover records.
TECHNICAL RESOURCE | SOP • Boiler
10
Notes: [Sources]
- User-provided controlled technical document
Training interpretation only. Verify against the current controlled record, OEM documentation, approved PTW/LOTO, risk assessment and site procedures.