## Slide 1
SERVICE REPORTS
RTAG285 Service Call — 09 July 2025
Operational response and field service evidence
SAJJAD ENGINEERING ACADEMY
Notes: [Sources]
- User-provided source: DUB143026806 10 LINENCRAFT G24K04508 Ganesh Prabhu 09072025 UADUB - CALL JRRY V143.pdf
Training interpretation only. Verify against the controlled project record, current OEM documentation, approved PTW/LOTO, risk assessment and site procedures.

## Slide 2
SERVICE REPORTS
Source to practice
Evidence, interpretation and technician application
02
Notes: [Sources]
- User-provided source: DUB143026806 10 LINENCRAFT G24K04508 Ganesh Prabhu 09072025 UADUB - CALL JRRY V143.pdf
Training interpretation only. Verify against the controlled project record, current OEM documentation, approved PTW/LOTO, risk assessment and site procedures.

## Slide 3
KEY EVIDENCE
A controlled technical reference for safe maintenance
RTAG285
Chiller model
G24K04508
Serial number
5
Report pages
LC4 AIR-COOLED CHILLER | Service Reports
03
Notes: [Sources]
- User-provided source: DUB143026806 10 LINENCRAFT G24K04508 Ganesh Prabhu 09072025 UADUB - CALL JRRY V143.pdf
Training interpretation only. Verify against the controlled project record, current OEM documentation, approved PTW/LOTO, risk assessment and site procedures.

## Slide 4
TECHNICAL REVIEW
Use the manual as a machine-specific working reference
• Capture arrival and departure status before closing the call.
• Retain measurements, alarm evidence and corrective actions.
• Confirm the repair under representative load.
• Escalate unresolved conditions into a tracked action list.
LC4 AIR-COOLED CHILLER | Service Reports
04
Notes: [Sources]
- User-provided source: DUB143026806 10 LINENCRAFT G24K04508 Ganesh Prabhu 09072025 UADUB - CALL JRRY V143.pdf
Training interpretation only. Verify against the controlled project record, current OEM documentation, approved PTW/LOTO, risk assessment and site procedures.

## Slide 5
TECHNICAL REVIEW
Apply a consistent safe-work sequence
• Confirm machine identity, model and document revision.
• Isolate all energy sources and prove a safe state before access.
• Inspect, measure and diagnose before replacing components.
• Function-test safeguards and record the completed work.
LC4 AIR-COOLED CHILLER | Service Reports
05
Notes: [Sources]
- User-provided source: DUB143026806 10 LINENCRAFT G24K04508 Ganesh Prabhu 09072025 UADUB - CALL JRRY V143.pdf
Training interpretation only. Verify against the controlled project record, current OEM documentation, approved PTW/LOTO, risk assessment and site procedures.

## Slide 6
TECHNICAL REVIEW
Parts and settings require configuration control
• Record original settings and connections before adjustment.
• Use exact part numbers or approved supersessions.
• Preserve firmware, program and parameter backups where applicable.
• Update the maintenance history after each intervention.
LC4 AIR-COOLED CHILLER | Service Reports
06
Notes: [Sources]
- User-provided source: DUB143026806 10 LINENCRAFT G24K04508 Ganesh Prabhu 09072025 UADUB - CALL JRRY V143.pdf
Training interpretation only. Verify against the controlled project record, current OEM documentation, approved PTW/LOTO, risk assessment and site procedures.

## Slide 7
SOURCE EVIDENCE
Manual evidence 1
Source page 1
Use the original report for signatures, detailed readings, revision status and formal acceptance.
LC4 AIR-COOLED CHILLER | Service Reports
07
Notes: [Sources]
- User-provided source: DUB143026806 10 LINENCRAFT G24K04508 Ganesh Prabhu 09072025 UADUB - CALL JRRY V143.pdf
- Evidence reference: Source page 1
Training interpretation only. Verify against the controlled project record, current OEM documentation, approved PTW/LOTO, risk assessment and site procedures.

## Slide 8
SOURCE EVIDENCE
Manual evidence 2
Source page 2
Use the original report for signatures, detailed readings, revision status and formal acceptance.
LC4 AIR-COOLED CHILLER | Service Reports
08
Notes: [Sources]
- User-provided source: DUB143026806 10 LINENCRAFT G24K04508 Ganesh Prabhu 09072025 UADUB - CALL JRRY V143.pdf
- Evidence reference: Source page 2
Training interpretation only. Verify against the controlled project record, current OEM documentation, approved PTW/LOTO, risk assessment and site procedures.

## Slide 9
SOURCE EVIDENCE
Manual evidence 3
Source page 3
Use the original report for signatures, detailed readings, revision status and formal acceptance.
LC4 AIR-COOLED CHILLER | Service Reports
09
Notes: [Sources]
- User-provided source: DUB143026806 10 LINENCRAFT G24K04508 Ganesh Prabhu 09072025 UADUB - CALL JRRY V143.pdf
- Evidence reference: Source page 3
Training interpretation only. Verify against the controlled project record, current OEM documentation, approved PTW/LOTO, risk assessment and site procedures.

## Slide 10
SOURCE EVIDENCE
Manual evidence 4
Source page 4
Use the original report for signatures, detailed readings, revision status and formal acceptance.
LC4 AIR-COOLED CHILLER | Service Reports
10
Notes: [Sources]
- User-provided source: DUB143026806 10 LINENCRAFT G24K04508 Ganesh Prabhu 09072025 UADUB - CALL JRRY V143.pdf
- Evidence reference: Source page 4
Training interpretation only. Verify against the controlled project record, current OEM documentation, approved PTW/LOTO, risk assessment and site procedures.

## Slide 11
SOURCE EVIDENCE
Manual evidence 5
Source page 5
Use the original report for signatures, detailed readings, revision status and formal acceptance.
LC4 AIR-COOLED CHILLER | Service Reports
11
Notes: [Sources]
- User-provided source: DUB143026806 10 LINENCRAFT G24K04508 Ganesh Prabhu 09072025 UADUB - CALL JRRY V143.pdf
- Evidence reference: Source page 5
Training interpretation only. Verify against the controlled project record, current OEM documentation, approved PTW/LOTO, risk assessment and site procedures.

## Slide 12
COMPETENCY CHECK
What technicians must retain
• Identify the correct controlled source before work.
• Verify readings, configuration and acceptance criteria.
• Preserve evidence and escalate unresolved deviations.
• Complete safe isolation, functional testing and handover records.
LC4 AIR-COOLED CHILLER | Service Reports
12
Notes: [Sources]
- User-provided source: DUB143026806 10 LINENCRAFT G24K04508 Ganesh Prabhu 09072025 UADUB - CALL JRRY V143.pdf
Training interpretation only. Verify against the controlled project record, current OEM documentation, approved PTW/LOTO, risk assessment and site procedures.